## inventory_list
Počet celkem /
| Marketingový kód / Marketing Code | Popis / Description | Total Quantity
1.4 | Výpočetní servery / Computing servers
Výpočetní servery bez akcelerace (576 uzlů) / Non-accelerated Computing Servers (576 nodes)
| LCF-BLD-IP133CS | IP-133 "Grafton" compute blade (Haswell based) - 2 x two socket CPU only nodes w/ cold sinks, 4 DIMMS per socket with provision for one HDD per node (two per blade) | 288
| LCF-MEM-16G-DR2133 | 16GB DDR4, Reg-2133, DR, 1Gbx4, 1.2v, No H/S | 4608
| LCF-CPU-2680V3 | 2.5GHz Haswell 12C 120W SKU | 1152
| LCF-IB-FDR-2X1P-MEZZ | 2x1 Port FDR IB HCA Mezzanine Card | 288
Výpočetní servery bez akcelerace - M-Cell / Non-accelerated Computing Servers - M-Cell
| LCF-ENCLPR-MRK-6SH | Blade Enclosure Pair, M-Cell, 6 Power Shelf Slots | 8
| LCF-MRACK-CS | M-Rack Frame- Cold Sink | 4
| LCF-CDU-200-I | Cooling Distribution Unit | 1
| LCF-CDU-200-I | Cooling Rack Assembly w/ Hose Kit | 2
| LCF-PDU-3P-3000-I | PDU M-Rack, 3-phase 415V 18 Outlet PDU for 3000 WATT Power Supplies, INTL | 8
| LCF-TRIM-1.0CELLA | Trim Kit 1.0 M-Rack "Aisle" Cell for 6 Shelf Enclosure Pair | 1
Výpočetní servery bez akcelerace - IO Rack / Non-accelerated Computing Servers - IO Rack
| LAE-PWR-3PH-I | 21 Outlet 3 Phase PDU INTL | 1
| DR-WC-COIL-19 | Water Cooling Coil Assembly for 10U Space | 3
Výpočetní servery s akcelerací (432 uzlů) / Accelerated Computing Servers (432 nodes)
| CH-C1104-GP1 | C1104-GP1 base node: 1U chassis with 3 x PCIE x16 and 1 x PCIE x8, 4 x 2.5 drive slots, two redundant power supplies | 400
| LSX-CPU-2680V3 | Intel Xeon E5-2680 v3 Twelve Cores 2.5GHz (120W) | 800
| LSX-MEM-16G-DR2133 | 16GB DDR4, Reg-2133, DR, 1Gbx4, 1.2v, No H/S | 2700
| PCIE-CONNX3-1P | ConnectX-3 VPI adapter card, single-port QSFP, FDR IB (56Gb/s) and 40GigE, PCIe3.0 x8 8GT/s. | 400
| PCIE-PHI-7120P | Intel Xeon Phi 7120P PCIE card - passively cooled | 864
Výpočetní servery s akcelerací - Racky / Accelerated Computing Servers - Racks
| DR-RACK-TALL-19 | Destination Rack, 42U air or water 19 | 9
| LSX-PDU-3PH-AC-G-I | Geist three phase PDU International 32A 415V | 18
| DR-WC-COIL-19 | Water Cooling Coil Assembly for 10U Space | 36
1.5 | Výpočetní síť / Computing Network
| LCF-EHYPERCUBE | Enhanced Hypercube IB Interconnect Topology | 1
| LCF-SWTCH-PREM | Integrated IB Switch Blade 2SW9x27 | 32
| IB-MSX6025-UM-36P | SwitchX based FDR InfiniBand Switch, 36 QSFP ports, 1 power supply, Unmanaged, PSU to Connector side airflow | 42
| IB-CBL-C-.5M-FDR | INFINIBAND CABLE 0.5M COPPER FDR | 72
| IB-CBL-C-1M-FDR | INFINIBAND CABLE 1M COPPER FDR | 600
| IB-CBL-C-1.5M-FDR | INFINIBAND CABLE 1.5M COPPER FDR | 152
| IB-CBL-C-2M-FDR | INFINIBAND CABLE 2M COPPER FDR | 172
| IB-CBL-O-10M-FDR | INFINIBAND CABLE 10M OPTICAL FDR | 404
| IB-CBL-O-15M-FDR | INFINIBAND CABLE 15M OPTICAL FDR | 80
| IB-CBL-O-20M-FDR | INFINIBAND CABLE 20M OPTICAL FDR | 106
1.6 | Přístupové servery / Login Servers
| CH-C2112-GP2 | C2112-GP2 base node: 2U chassis with 1 nodes | 4
| LSX-CPU-2695V3 | Intel Xeon E5-2695 v3 Fourteen Cores 2.3GHz (120W) | 8
| LSX-MEM-16G-DR2133 | 16GB DDR4, Reg-2133, DR, 1Gbx4, 1.2v, No H/S | 32
| DD-SAS35-300G-15-S | HDD SAS 6Gb/s Seagate 300GB 15K RPM 3.5" | 8
| PCIE-10GENET-OR-2P | Dual port 10 GbE card with SR optical module, Silicom PE210G2SPI9-SR, LP | 4
| PCIE-CONNX3-1P | ConnectX-3 VPI adapter card, single-port QSFP, FDR IB (56Gb/s) and 40GigE, PCIe3.0 x8 8GT/s. | 4
| PCIE-SAS-3008-8I | 8 internal ports, low-profile, 12Gb/s per port- Gen-3, 63HDD - RAID 0,1,10 | 4
1.8 | Datová úložiště / Data Storages
Souborové datové úložiště HOME / HOME Data Storage
RAID Diskové pole pro Tier1 / RAID Disk array for Tier1
| 5660-24-FC8 | InfiniteStorage 5600, 4U 60 drive form factor, 24GB cache, qty. Eight 16 Gb FC host ports, includes 16Gb SFP's | 1
| IS-DMODULE60-SAS | 60-bay drive enclosure for IS5000 Family | 1
| SC5-ISSM-11 | ISSM 11.10 for Linux (IS5000, IS5100, IS5500, IS5600), download/no Media version | 2
NL-SAS diskové pole pro Tier2 / NL-SAS Disk array for Tier2
| 5160-04-S4 | Base Tahoe, 60bay, 4x Base SAS ports, 4GB cache, No HIC, Includes rails and PDU cords. 4x 1M SASHD-miniSAS cables | 1
| 5100-16GB-4XSFP | IS5100 optional 16Gb SFPs, comes in quantity of 4, factory Integrated | 1
| 5100-F4 | 4 port/RAID FC16 HIC Upgrade, factory Integrated | 1
| IS-DMODULE60-SAS | 60-bay drive enclosure for IS5000 Family | 2
| SC5-ISSM-11 | ISSM 11.10 for Linux (IS5000, IS5100, IS5500, IS5600), download/no Media version | 1
DMF pDMO server
| CH-S3104-RP10 | InfiniteStorage Server 3104 1U base chassis, std. depth, 4 x 3.5" SATA/SAS drives | 1
| MM-16G-D3H1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 8
| MP-I-E5-1650V2 | Intel Xeon E5-1650v2 Six Cores 3.5 GHz (130W) | 1
| PCIE-FC8-4P-G2 | PCIe Quad Port 8Gbit (optical) fibre channel HBA Gen2 Compatible, Full Height | 1
| LSX-2.5-DRV-SLED | Drive sled for 2.5" drives for Rackable Standard Depth servers | 2
| DD-SA4K25-250G-10 | HDD SATA 6Gb/s 250GB 10K RPM, Emulated 512 byte sectors | 2
CXFS Edge Servery / CXFS Edge Servers
| CH-S3104-RP10 | InfiniteStorage Server 3104 1U base chassis, std. depth, 4 x 3.5" SATA/SAS drives | 3
| MM-16G-D3H1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 24
| MP-I-E5-1650V2 | Intel Xeon E5-1650v2 Six Cores 3.5 GHz (130W) | 3
| PCIE-10GENET-OR-2P | Dual port 10 GbE card with SR optical module, Silicom PE210G2SPI9-SR, LP | 3
| LSX-2.5-DRV-SLED | Drive sled for 2.5" drives for Rackable Standard Depth servers | 6
| DD-SA4K25-250G-10 | HDD SATA 6Gb/s 250GB 10K RPM, Emulated 512 byte sectors | 6
Souborové datové úložiště SCRATCH / SCRATCH Data Storage
Diskové pole pro (OST) object storage targets / Data Array for OST
| 12KX40IB-8K10 | 12KX40D-56IB with 10x SS8460 enclosures, 20x HMSHMS-3M and 20x HMSHMS-6M cables, power and ICL cables, rail kits, licenses for SFA OS, dual UPSs and ATSs. | 1
| SFX-12K | SFX Software License for 12KX, including 12KXE | 1
| 8K-400G6SS2PN | 400GB Write Intensive SSD 6Gb/s SAS drive module for SS8460 enclosure (read/write ratio 50/50); for less than 30 full writes day | 4
Metadata (MDS) servery / MDS Servers
| CH-C2108-RP2 | C2108-RP2 base node:2U chassis, up to 8 x 3.5" HDDs, two redundant power supplies | 2
| LSX-CPU-2643V2 | Intel Xeon E5-2643v2 Six Cores 3.5 GHz (130W) | 4
| LSX-MEM-16GB-1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 16
| DD-SAS35-300G-15-S | HDD SAS 6Gb/s Seagate 300GB 15K RPM 3.5" | 4
| PCIE-FC8-2P-G3 | Dual port 8Gb F/C PCIE GEN3 HBA | 2
Object storage (OSS) servery / OSS servers
| CH-C2108-RP2 | C2108-RP2 base node:2U chassis, up to 8 x 3.5" HDDs, two redundant power supplies | 6
| LSX-CPU-2650V2 | Intel Xeon E5-2650v2 Eight Cores 2.6GHz (95W) | 12
| LSX-MEM-16GB-1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 48
| DD-SAS35-300G-15-S | HDD SAS 6Gb/s Seagate 300GB 15K RPM 3.5" | 12
LFSaccess servery / LFSaccess servers
| CH-S3104-RP10 | InfiniteStorage Server 3104 1U base chassis, std. depth, 4 x 3.5" SATA/SAS drives | 2
| MM-16G-D3H1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 16
| MP-I-E5-1650V2 | Intel Xeon E5-1650v2 Six Cores 3.5 GHz (130W) | 2
| PCIE-CONNX3-2P | ConnectX-3 VPI adapter card, dual-port QSFP, FDR IB (56Gb/s) and 40GigE, PCIe3.0 x8 8GT/s. | 2
| LSX-2.5-DRV-SLED | Drive sled for 2.5" drives for Rackable Standard Depth servers | 4
| DD-SA4K25-250G-10 | HDD SATA 6Gb/s 250GB 10K RPM, Emulated 512 byte sectors | 4
Datové úložiště infrastruktury / Infrastructure Data Storage
Blokové Diskové pole pro kapacitu Y / Block Disc Array for Y capacity
| 5024-04-S4F8 | InfiniteStorage 5000, 2U 24 drive form factor, 4GB cache, 4 6Gb SAS and 8 8Gb FC host ports | 2
| IS-DMODULE24 | 24 drive 2U expansion drive enclosure, 6Gb SAS | 4
| SP12093 | SANtricity ES 11.10 FOR LINUX (IS5000, IS5100, IS5500, IS5600 standard product), download/no Media version | 2
FILE access servery / FILE Access Servers
| CH-S3104-RP10 | InfiniteStorage Server 3104 1U base chassis, std. depth, 4 x 3.5" SATA/SAS drives | 2
| MM-16G-D3H1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 8
| MP-I-E5-1650V2 | Intel Xeon E5-1650v2 Six Cores 3.5 GHz (130W) | 2
| PCIE-10GENET-OR-2P | Dual port 10 GbE card with SR optical module, Silicom PE210G2SPI9-SR, LP | 2
| PCIE-FC8-4P-G2 | PCIe Quad Port 8Gbit (optical) fibre channel HBA Gen2 Compatible, Full Height | 2
| LSX-2.5-DRV-SLED | Drive sled for 2.5" drives for Rackable Standard Depth servers | 4
| DD-SA4K25-250G-10 | HDD SATA 6Gb/s 250GB 10K RPM, Emulated 512 byte sectors | 4
Racky / Racks
| DR-RACK-TALL-19 | Destination Rack, 42U air or water 19 | 4
| DR-WC-COIL-19 | Water Cooling Coil Assembly for 10U Space | 16
| LSX-PDU-3PH-AC-G-I | Geist three phase PDU International 32A 415V | 8
| RK42-9900EU-R | 42U Rack with 2x 3phases EU 30/32A PDU with 5-wire IEC 60309 | 1
| RDHX-42UBTM | DOOR,REAR,COOLING,WATER,BOTTOM-FEED,42U-45U,24" WIDE,RoHS, RAME,MOUNTING,HYDROCOOL-IT,42U,24" WIDE,RoHS, RACK, COOLING,Solid Top and Bottom Close out Panel,Kit, 24U | 1
1.9 | Infrastrukturní servery / Infrastructure Servers
Infrastrukturní servery / Infrastructure Servers
| CH-C2112-GP2 | C2112-GP2 base node: 2U chassis with 1 nodes | 6
| LSX-CPU-2620V3 | Intel Xeon E5-2620 v3 Six Cores 2.4GHz (85W) | 12
| LSX-MEM-8G-SR2133 | 8GB DDR4, Reg-2133, SR, 1Gbx4, 1.2v, No H/S | 48
| DD-SAS35-300G-15-S | HDD SAS 6Gb/s Seagate 300GB 15K RPM 3.5" | 12
| PCIE-SAS-3008-8I | 8 internal ports, low-profile, 12Gb/s per port- Gen-3, 63HDD - RAID 0,1,10 | 6
Gateway IB-ETH
| CH-C2112-GP2 | C2112-GP2 base node: 2U chassis with 1 nodes | 2
| LSX-CPU-2620V3 | Intel Xeon E5-2620 v3 Six Cores 2.4GHz (85W) | 2
| LSX-MEM-8G-SR2133 | 8GB DDR4, Reg-2133, SR, 1Gbx4, 1.2v, No H/S | 16
| DD-SAS35-300G-15-S | HDD SAS 6Gb/s Seagate 300GB 15K RPM 3.5" | 4
| PCIE-10GENET-OR-2P | Dual port 10 GbE card with SR optical module, Silicom PE210G2SPI9-SR, LP | 2
Admin server - SAC
| LCF-SYS-6017 | ICE system management and service node - 1U/ 1 node, redundant power supply and DVD | 2
| LCF-CPU-2609V2 | Intel E-2609V2 4 Core 2.5 GHz (80W) | 4
| LCF-MEM-8G-DR1866 | 8GB DDR3, Reg-1866, DR, 512Mx4, 1.5V | 16
| DD-SATA35-2TB-72 | HDD SATA 6Gb/s 2TB 7.2K RPM 3.5 inch | 4
| BBU-MODULE-09 | LSI MegaRAID BBU09 for direct mounting to card | 2
| PCIE-RAID-9271-4I | PCIE-3 RAID 6Gb/s SAS with 1int x4 SFF8087 Mini-SAS connectors, LP,1GB, supports up to 128 drives, RAID levels: 0,1,5,6,10,50,60 | 2
Rack Leader - RLC
| LCF-SYS-6017 | ICE system management and service node - 1U/ 1 node, redundant power supply and DVD | 6
| LCF-CPU-2603V2 | Intel E-2603V2 4 Core 1.8GHz (80W) | 12
| LCF-MEM-4G-SR1866 | 4GB DDR3, Reg-1866, SR, 512Mx4, 1.5V | 48
| BBU-MODULE-09 | LSI MegaRAID BBU09 for direct mounting to card | 6
| PCIE-RAID-9271-4I | PCIE-3 RAID 6Gb/s SAS with 1int x4 SFF8087 Mini-SAS connectors, LP,1GB, supports up to 128 drives, RAID levels: 0,1,5,6,10,50,60 | 6
Rack Leader - RLC
| LCF-SYS-6017 | ICE system management and service node - 1U/ 1 node, redundant power supply and DVD | 2
| LCF-CPU-2603V2 | Intel E-2603V2 4 Core 1.8GHz (80W) | 4
| LCF-MEM-4G-SR1866 | 4GB DDR3, Reg-1866, SR, 512Mx4, 1.5V | 16
| PCIE-CONNX3-1P | ConnectX-3 VPI adapter card, single-port QSFP, FDR IB (56Gb/s) and 40GigE, PCIe3.0 x8 8GT/s. | 2
| BBU-MODULE-09 | LSI MegaRAID BBU09 for direct mounting to card | 2
| PCIE-RAID-9271-4I | PCIE-3 RAID 6Gb/s SAS with 1int x4 SFF8087 Mini-SAS connectors, LP,1GB, supports up to 128 drives, RAID levels: 0,1,5,6,10,50,60 | 2
1.10 | Management servery / Management Servers
| CH-C2112-GP2 | C2112-GP2 base node: 2U chassis with 1 nodes | 2
| LSX-CPU-2620V3 | Intel Xeon E5-2620 v3 Six Cores 2.4GHz (85W) | 4
| LSX-MEM-8G-SR2133 | 8GB DDR4, Reg-2133, SR, 1Gbx4, 1.2v, No H/S | 16
| DD-SAS35-2TB-72 | HDD SAS 6Gb/s 2TB 7.2K RPM 3.5 inch | 4
| PCIE-SAS-3008-8I | 8 internal ports, low-profile, 12Gb/s per port- Gen-3, 63HDD - RAID 0,1,10 | 2
1.12 | Další serverové systémy / Other Server Systems
SGI UV2000 (Server type C, D)
| LSV-BASE-IRU | UV2 Large IRU, 8 Blades, 10U | 1
| LSY-BASE-IO-CARD | Base IO card with DVD and dual 1.8 SSD support (drives not included) | 1
| LSV-BLADE-16D | UV2 Blade, 2CPU, 16 DIMM slot | 6
| LSV-BLADE-CPU-MG | UV 2000 Blade supporting one CPU, 8 DIMMs and one large form factor PCI card. | 2
| LSV-E5-4627V2 | Intel Xeon CPU, E5-4627-v2, 8 core, 3.3GHz, 16M cache, 130W, no HT | 14
| LSV-MEM-32G-1866 | Memory, DDR3 1866MT/s, 32GB | 96
| LSX-MEM-16GB-1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 16
| LSV-SSD-BASEIO-400 | 400GB SSD MOUNTED IN BASEIO, SSD SSD IC 400GB 1.8" 5mm 6Gb SATA MLC CL PLP AC | 2
| PCIE-10GENET-OR-2P | Dual port 10 GbE card with SR optical module, Silicom PE210G2SPI9-SR, LP | 2
| PCIE-FC8-2P-G2 | Dual port 8Gb FC PCIE Gen2 HBA | 2
| PCIE-CONNX3-1P | ConnectX-3 VPI adapter card, single-port QSFP, FDR IB (56Gb/s) and 40GigE, PCIe3.0 x8 8GT/s. | 2
Racky / Racks
| DR-RACK-TALL-19 | Destination Rack, 42U air or water 19 | 1
| LSX-PDU-3PH-AC-G-I | Geist three phase PDU International 32A 415V | 2
| DR-WC-COIL-19 | Water Cooling Coil Assembly for 10U Space | 4
1.13 | Zálohování / Backup
NetWorker server a/and storage node server
| CH-S3104-RP10 | InfiniteStorage Server 3104 1U base chassis, std. depth, 4 x 3.5" SATA/SAS drives | 2
| MM-16G-D3H1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 8
| MP-I-E5-1650V2 | Intel Xeon E5-1650v2 Six Cores 3.5 GHz (130W) | 2
| PCIE-10GENET-OR-2P | Dual port 10 GbE card with SR optical module, Silicom PE210G2SPI9-SR, LP | 2
| PCIE-CONNX3-2P | ConnectX-3 VPI adapter card, dual-port QSFP, FDR IB (56Gb/s) and 40GigE, PCIe3.0 x8 8GT/s. | 2
| PCIE-FC8-4P-G2 | PCIe Quad Port 8Gbit (optical) fibre channel HBA Gen2 Compatible, Full Height | 2
| LSX-2.5-DRV-SLED | Drive sled for 2.5" drives for Rackable Standard Depth servers | 4
| DD-SA4K25-250G-10 | HDD SATA 6Gb/s 250GB 10K RPM, Emulated 512 byte sectors | 4
NetWorker storage node server
| CH-S3104-RP10 | InfiniteStorage Server 3104 1U base chassis, std. depth, 4 x 3.5" SATA/SAS drives | 2
| LSX-CONFIG-BS-RAID-1 | BIOS assisted RAID 1 hard drive configuration (2 drives) | 2
| MM-16G-D3H1866-DR | 16GB DDR3 Registered dual rank DIMM, 1866MHz | 8
| MP-I-E5-1650V2 | Intel Xeon E5-1650v2 Six Cores 3.5 GHz (130W) | 2
| PCIE-FC8-4P-G2 | PCIe Quad Port 8Gbit (optical) fibre channel HBA Gen2 Compatible, Full Height | 2
| LSX-2.5-DRV-SLED | Drive sled for 2.5" drives for Rackable Standard Depth servers | 4
| DD-SA4K25-250G-10 | HDD SATA 6Gb/s 250GB 10K RPM, Emulated 512 byte sectors | 4
Pásková knihovna / Tape Library SpetraLogic T950B
| T950B MULTI 6D0T | T950B Multi-Frame - 6 DBAs - will hold up to 24 Drives - 1 Camera, Dual AC-Input, RLC software, BlueScale 12 Software with MLM, DIV, and DLM, Gen 3 Library Server, Std Encryption, 5 Access Chambers (50 slots), Barcode Scanner, 1ea Pwr Packs (5/12V & 24V) | 1
| 90949132 | N+1 Failover Power Pack Kit, Rhs, (base frame) | 1
| 90949166 | Spectra T950,Rhs, 5V/12V, 8A, Power pack | 4
| T950B MED EXP | Media Expansion Frame, T950B | 1
| 90949442 | LTO-6 Fibre Channel, Full-Height, Drive/Sled, EDBA, T950 | 18
| 90949030 | T950: 1 BlueScale Storage Chamber License (10 slots) | 160
| 9314 | Optical Cable, LC-LC Duplex Multi-Mode, 20 meter | 18
| 90949170 | LTO Maintenance TeraPack includes: 10 LTO Cleaning Tapes with Certified Barcode Labels (mandatory for AutoDrive Clean functionality) | 4
| 90949024-A | Access Chamber TeraPack, LTO, no media (10 slot). | 5
| 456-103-951 | Backup and Recovery Manager - NetWorker | 1
Remote VPN
| ASA5545-K9 | ASA 5545-X with SW 8GE Data 1GE Mgmt AC 3DES/AES | 2
| ASA5500-ENCR-K9 | ASA 5500 Strong Encryption License (3DES/AES) | 2
| ASA-ANYCONN-CSD-K9 | ASA 5500 AnyConnect Client + Cisco Security Desktop Software | 2
| ASA-PWR-BLANK | ASA 5545-X/5555-X Power Slot Blank Cover | 2
| ASA5545-MB | ^ASA 5545 IPS Part Number with which PCB Serial is associated | 2
| ASA-PWR-AC | ASA 5545-X/5555-X AC Power Supply | 2
| SF-ASA-X-9.1-K8 | ASA 9.1 Software image for ASA 5500-X Series5585-X & ASA-SM | 2
| CAB-ACE | AC Power Cord (Europe) C13 CEE 7 1.5M | 2
| ASA-VPN-CLNT-K9 | Cisco VPN Client Software (Windows Solaris Linux Mac) | 2
Site to site VPN
| CISCO3945E-SEC/K9 | Cisco 3945E Security Bundle w/SEC license PAK | 1
| SL-39-SEC-K9 | Security License for Cisco 3900 Series | 1
| S39EUK9-15303M | Cisco 3925-3945 SPE IOS UNIVERSAL | 1
| PWR-3900-AC | Cisco 3925/3945 AC Power Supply | 1
| CAB-ACE | AC Power Cord (Europe) C13 CEE 7 1.5M | 1
| C3900-SPE250/K9 | Cisco Services Performance Engine 250 for Cisco 3945E ISR | 1
| PI-MSE-PRMO-INSRT | Insert Packout - PI-MSE | 1
| SL-39-IPB-K9 | IP Base License for Cisco 3925/3945 | 1
| 3900-FANASSY | Cisco 3925/3945 Fan Assembly (Bezel included) | 1
| HWIC-BLANK | Blank faceplate for HWIC slot on Cisco ISR | 3
| ISR-CCP-EXP | Cisco Config Pro Express on Router Flash | 1
| MEM-3900-1GB-DEF | 1GB DRAM (512MB+512MB) for Cisco 3925/3945 ISR (Default) | 1
| MEM-CF-256MB | 256MB Compact Flash for Cisco 1900 2900 3900 ISR | 1
| RPS-COVER-3900 | Cover for empty 2nd Power Supply slot on Cisco 3925/3945 | 1
| SM-S-BLANK | Removable faceplate for SM slot on Cisco 290039004400 ISR | 4
Management 1GE
| ETH-STK48-LGE | Ethernet switch stacking 48P GbE ECS4610-50T | 20
| GBE-STK-CAB30-Z | 30cm stacking cable for stacking Gigabit Ethernet switch | 6
| GBE-STK-CAB130-Z | 130cm stacking cable for stacking Gigabit Ethernet switch | 2